## 设备
id | zone | group | name | type | visibility | config | ignore
特别提示：每个设备占一行，将ignore列（工作表最右侧）的值修改为no才会生效
特别提示：所有设备均为示例，请根据实际情况修改
gateway |  |  | gateway | gateway |  | serial=21224，name=主机
KNX灯控
light00 | 灯控 |  | 灯 | light |  | switch=1/1/1+1/2/1:1.001 | yes
light01 | 灯控 |  | 调光灯 | light_dimmer |  | switch=1/1/1+1/2/1:1.001 brightness=1/1/2+1/2/2:5.001 | yes
light02 | 灯控 |  | 色温灯 | light_color_temp |  | switch=1/1/1+1/2/1:1.001 color_temp=1/1/2+1/2/2:5.001 | yes
light03 | 灯控 |  | RGB灯 | light_rgb |  | switch=1/1/1+1/2/1:1.001 red=1/1/2+1/2/2:5.005 green=1/1/3+1/2/3:5.005 blue=1/1/4+1/2/4:5.005 | yes
light04 | 灯控 |  | RGB色温灯 | light_rgb |  | switch=1/1/1+1/2/1:1.001 red=1/1/2+1/2/2:5.005 green=1/1/3+1/2/3:5.005 blue=1/1/4+1/2/4:5.005 color_temp=1/1/2+1/2/2:5.001 | yes
light05 | 灯控 |  | 调光色温灯 | light_dimmer |  | switch=1/1/1+1/2/1:1.001 brightness=1/1/2+1/2/2:5.001 color_temp=1/1/2+1/2/2:5.001 | yes
light06 | 灯控 |  | 无开关RGB灯 | light_rgb |  | red=1/1/2+1/2/2:5.005 green=1/1/3+1/2/3:5.005 blue=1/1/4+1/2/4:5.005 | yes
light07 | 灯控 | 测试 | 调光灯 | light |  | switch=1/1/1+1/2/1:1.001 brightness=1/1/2+1/2/2:5.001 | yes
light08 | 灯控 | 测试 | 色温灯 | light |  | switch=1/1/1+1/2/1:1.001 color_temp=1/1/2+1/2/2:5.001 | yes
light09 | 灯控 | 测试 | RGB灯 | light |  | switch=1/1/1+1/2/1:1.001 red=1/1/2+1/2/2:5.005 green=1/1/3+1/2/3:5.005 blue=1/1/4+1/2/4:5.005 | yes
light10 | 灯控 | 测试 | RGB色温灯 | light |  | switch=1/1/1+1/2/1:1.001 red=1/1/2+1/2/2:5.005 green=1/1/3+1/2/3:5.005 blue=1/1/4+1/2/4:5.005 color_temp=1/1/2+1/2/2:5.001 | yes
light11 | 灯控 | 测试 | 调光色温灯 | light |  | switch=1/1/1+1/2/1:1.001 brightness=1/1/2+1/2/2:5.001 color_temp=1/1/2+1/2/2:5.001 | yes
KNX空调
aircon00 | 空调 |  | KNX空调 | aircon |  | switch=0/0/0+0/0/0:1.001 mode=0/0/0+0/0/0:5.005: cool/0+heat/1+fan/2+dry/3+auto/4 fan=0/0/0+0/0/0:5.005:low/0+mid/1+high/2+auto/3 settemp=0/0/0+0/0/0:9.001:0.1:℃ temperature=0/0/0+0/0/0:9.001:0.1:℃ swing=0/0/0+0/0/0:1.001 swing_v=0/0/0:5.005:1 swing_h=0/0/0:5.005:2 | yes
aircon01 | 空调 |  | KNX空调6.010 | aircon |  | switch=0/0/0+0/0/0:1.001 mode=0/0/0+0/0/0:5.005: cool/0+heat/1+fan/2+dry/3+auto/4 fan=0/0/0+0/0/0:5.005:low/0+mid/1+high/2+auto/3 settemp=0/0/0+0/0/0:6.010:1:℃:1:24:19:30 temperature=0/0/0+0/0/0:9.001:0.1:℃ | yes
KNX按键
knxbutton00 | 按键 |  | 单个按键KNX | button |  | button10=0/0/0:1.001:1 _button10=电源 | yes
knxbutton01 | 按键 |  | 多个按键KNX | button |  | button10=0/0/0:1.001:1, _button10=电源 button20=0/0/0:1.001:0, _button20=音量加 button30=0/0/0:1.001:0, _button30=音量减 button40=0/0/0:1.001:0 | yes
knxbutton02 | 按键 |  | 测试按键KNX | button |  | button10=0/0/0:1.001:1, button20=0/0/0:1.001:0, button30=0/0/0:1.001:0, button40=0/0/0:1.001:0， switch=0/0/0, abcd=0/0/0, _abcd=电源 | yes
485按键
serialbutton00 | 按键 |  | 单个按键485 | serialdevice |  | button10=0x DD EE FF _button10=电源 | yes
serialbutton01 | 按键 |  | 多个按键485 | serialdevice |  | button10=0x AA BB CC _button10=电源 button20=0x DD EE FF _button20=音量加 button30=0x 11 22 33 _button30=音量减 button40=0x 44 55 66 | yes
serialbutton02 | 按键 |  | 测试按键485 | serialdevice |  | button1=0x DD EE FF button11=0x AA BB CC button2=0x 11 22 33 button03=0x 55 66 77 switch=0x 91 92 93 abcd=0x 95 96 97, _abcd=电源 | yes
KNX窗帘
curtain00 | 窗帘 | KNX | 开合帘 | curtain |  | subtype=openclose open=0/0/0:1.001:0 close=0/0/0:1.001:1 stop=0/0/0:1.001:0 | yes
curtain01 | 窗帘 | KNX | 卷帘 | curtain |  | subtype=rollershutter open=0/0/0:1.001:0 close=0/0/0:1.001:1 stop=0/0/0:1.001:0 | yes
curtain02 | 窗帘 | KNX | 开合帘位置 | curtain |  | subtype=openclose open=0/0/0:1.001:0 close=0/0/0:1.001:1 stop=0/0/0:1.001:0 position=0/0/0+0/0/0:5.001 | yes
curtain03 | 窗帘 | KNX | 卷帘位置 | curtain |  | subtype=rollershutter open=0/0/0:1.001:0 close=0/0/0:1.001:1 stop=0/0/0:1.001:0 position=0/0/0+0/0/0:5.001 | yes
curtain04 | 窗帘 | KNX | 开合帘角度 | curtain |  | subtype=openclose open=0/0/0:1.001:0 close=0/0/0:1.001:1 stop=0/0/0:1.001:0 angle=0/0/0+0/0/0:5.001 | yes
curtain05 | 窗帘 | KNX | 卷帘角度 | curtain |  | subtype=rollershutter open=0/0/0:1.001:0 close=0/0/0:1.001:1 stop=0/0/0:1.001:0 angle=0/0/0+0/0/0:5.001 | yes
curtain06 | 窗帘 | KNX | 开合帘百叶 | curtain |  | subtype=openclose open=0/0/0:1.001:0 close=0/0/0:1.001:1 stop=0/0/0:1.001:0 position=0/0/0+0/0/0:5.001 angle=0/0/0+0/0/0:5.001 | yes
curtain07 | 窗帘 | KNX | 卷帘百叶 | curtain |  | subtype=rollershutter open=0/0/0:1.001:0 close=0/0/0:1.001:1 stop=0/0/0:1.001:0 position=0/0/0+0/0/0:5.001 angle=0/0/0+0/0/0:5.001 | yes
curtain08 | 窗帘 | KNX | 开合帘开关 | curtain |  | subtype=openclose open=0/0/0:1.001:0 close=0/0/0:1.001:1 | yes
curtain09 | 窗帘 | KNX | 卷帘开关 | curtain |  | subtype=rollershutter open=0/0/0:1.001:0 close=0/0/0:1.001:1 | yes
杜亚窗帘
dooya00 | 窗帘 | 杜亚 | 开合帘 | dooya |  | channel=1, address=0101, subtype=openclose, positionEnabled=0, angleEnabled=0 | yes
dooya01 | 窗帘 | 杜亚 | 卷帘 | dooya |  | channel=1, address=0101, subtype=rollershutter, positionEnabled=0, angleEnabled=0 | yes
dooya02 | 窗帘 | 杜亚 | 开合帘位置 | dooya |  | channel=1, address=0101, subtype=openclose, positionEnabled=1, angleEnabled=0 | yes
dooya03 | 窗帘 | 杜亚 | 卷帘位置 | dooya |  | channel=1, address=0101, subtype=rollershutter, positionEnabled=1, angleEnabled=0 | yes
dooya04 | 窗帘 | 杜亚 | 开合帘角度 | dooya |  | channel=1, address=0101, subtype=openclose, positionEnabled=0, angleEnabled=1 | yes
dooya05 | 窗帘 | 杜亚 | 卷帘角度 | dooya |  | channel=1, address=0101, subtype=rollershutter, positionEnabled=0, angleEnabled=1 | yes
dooya06 | 窗帘 | 杜亚 | 开合帘百叶 | dooya |  | channel=1, address=0101, subtype=openclose, positionEnabled=1, angleEnabled=1 | yes
dooya07 | 窗帘 | 杜亚 | 卷帘百叶 | dooya |  | channel=1, address=0101, subtype=rollershutter, positionEnabled=1, angleEnabled=1 | yes
d01 |  |  | curtain-serial | serialcurtain |  | channel=1, baudrate=4800, parity=even, subtype=openclose open=AA BB, close=CC DD, stop=EE FF | yes
d02 |  |  | curtain-dooya | dooya |  | channel=1, address=0404, subtype=blinds, positionEnabled=0, angleEnabled=1 | yes
d03 |  |  | curtain-geningsimotor | geningsimotor |  | channel=1, id=4, motorchannel=1, subtype=rollershutter, positionEnabled=1 | yes
d04 |  |  | curtain-makseal | makseal |  | channel=1, area=1, address=4, subtype=rollershutter, positionEnabled=1 | yes
d05 |  |  | curtain-aok | aokmotor |  | channel=1, id=4, motorchannel=1, subtype=rollershutter, positionEnabled=1 | yes
d06 |  |  | curtain-wintom | wintom |  | channel=1, motorid=0, id=5, subtype=blinds, positionEnabled=0, angleEnabled=1 | yes
d07 |  |  | aircon-daikin | daikin |  | channel=1, address=1, id=1-01, fannum=5, readInterval=5 | yes
d08 |  |  | aircon-hitachi | hitachi |  | channel=1, address=1, readInterval=5 | yes
d09 |  |  | aircon-mitsubishielectric | mitsubishielectric |  | channel=1, address=1 | yes
d10 |  |  | aircon-mhi | mhi |  | channel=1, indoor=1,gateway=1,readInterval=5 | yes
d11 |  |  | aircon-toshiba | toshiba |  | channel=,readInterval=5,address=1,id=1 | yes
d12 |  |  | aircon-gree | gree |  | channel=1, address=1, indoor=1 | yes
d13 |  |  | aircon-zhonghong | zhonghong |  | channel=1, gateway=1, outdoor=0, indoor=0,readInterval=5 | yes
d14 |  |  | aircon-hitachi3 | hitachi3 |  | channel=1, gateway=1, outdoor=0, indoor=0,version=HL | yes
d15 |  |  | aircon-mxi | mxi |  | channel=1, address=1, readInterval=5 | yes
d16 |  |  | 罗格朗温控面板-新风 | legrand_thermostat_freshair |  | channel=4，address=1 | yes
d17 |  |  | 罗格朗温控面板-空调 | legrand_thermostat_aircon |  | channel=4，address=1 | yes
d18 |  |  | 罗格朗温控面板-地暖 | legrand_thermostat_floorheat |  | channel=4，address=1 | yes
d19 |  |  | aircon-sinko | sinko |  | channel=1,address=1,readInterval=5 | yes
d20 |  |  | knx2york | york |  | channel=1, address=1 | yes
d21 |  |  | floor-heat-hailin | hailin_floor_heat |  | channel=1, address=1 | yes
d22 |  |  | aircon-simon | simon_aircon |  | channel=1, address=1 | yes
d23 |  |  | floor-heat-simon | simon_floor_heat |  | channel=1, address=1 | yes
d24 |  |  | simon_water_heat | simon_water_heat |  | channel=1, address=1 | yes
d25 |  |  | simon_freshair | simon_freshair |  | channel=1, address=1, readInterval=5 | yes
d26 |  |  | floor-heat-menred | menred |  | channel=1,id=1,address=1,readInterval=5 | yes
d27 |  |  | aircon-feish | feish_aircon |  | channel=1, address=1,readInterval=5 | yes
d28 |  |  | floor-heat-feish | feish_floor_heat |  | channel=1, address=1, readInterval=5 | yes
d29 |  |  | floor-heat-bogin | bogrin |  | channel=1, address=1,readInterval=5 | yes
d30 |  |  | clowire | clowire |  | channel=1, address=1 | yes
d31 |  |  | laffey | laffey |  | channel=1, address=1 | yes
d32 |  |  | savekey | savekey |  | channel=1, address=1 | yes
d33 |  |  | freshair-zehnder | zehnder |  | channel=1, address=1,readInterval=5 | yes
d34 |  |  | freshair-hitachi | hitachi_freshair |  | channel=1, address=1,gateway=50,readInterval=5 | yes
d35 |  |  | freshair-panasonic | panasonic |  | channel=1, address=1,readInterval=5 | yes
d36 |  |  | freshair-zkrsfreshair | zkrsfreshair |  | channel=1, address=1 | yes
d37 |  |  | freshair-metsfreshair | metsfreshair |  | channel=1, address=1 | yes
d38 |  |  | freshair-tuosheng | tuosheng |  | channel=1, address=1 | yes
d39 |  |  | freshair-westinghouse | westinghouse |  | channel=1, address=1 | yes
d40 |  |  | freshair-vivao | vivao |  | channel=1, id=1,readInterval=5 | yes
d41 |  |  | freshair-qingci | qingci |  | channel=1, address=1,readInterval=5 | yes
d42 |  |  | freshair-ey86 | ey86 |  | channel=1,address=1,id=1,readInterval=5 | yes
d43 |  |  | humidity-metshumidifier | metshumidifier |  | channel=1, address=1 | yes
d44 |  |  | dehumidify-st86 | st86 |  | channel=1, address=1 | yes
d45 |  |  | door-yale | yale |  | channel=1, readInterval=0,subtype=200D2 | yes
d46 |  |  | door-holish | holish |  | channel=1, id=FA FB FC, readInterval=5 | yes
d47 |  |  | freshair-sourcecode | sourcecode_freshair |  | channel=0,address=0,readInterval=5 | yes
d48 |  |  | window-sourcecode | sourcecode_window |  | channel=0,address=0,readInterval=5 | yes
d49 |  |  | player-integra | integra |  | channel=1 | yes
d50 |  |  | player-denon | denon |  | method=rs232, channel=1 | yes
d51 |  |  | player-marantz | marantz |  | method=rs232, channel=1 | yes
d52 |  |  | player-egreat | egreat |  | ip=192.168.1.100 | yes
d53 |  |  | player-himedia | himedia |  | method=rs232, channel=1 | yes
d54 |  |  | player-vidon | vidon |  | ip=192.168.1.100 | yes
d55 |  |  | tv-sharp | sharp |  | channel=1 | yes
d56 |  |  | tv-optoma | optoma |  | channel=1, address=00 | yes
d57 |  |  | sensor-hike | hike |  | channel=1, address=1, readInterval=5 | yes
d58 |  |  | sensor-threem | threem |  | channel=0,readInterval=5 | yes
d59 |  |  | sensor-weiguo | weiguo |  | channel=1, address=1, readInterval=5 | yes
d60 |  |  | sensor-jxct_brightness | jxct_brightness |  | channel=1, address=1, readInterval=5 | yes
d61 |  |  | sensor-jxct_co | jxct_co |  | channel=1, address=1, readInterval=5 | yes
d62 |  |  | edison | edison |  | channel=0,address=0,readInterval=5 | yes
d63 |  |  | music-yodar | yodar |  | method=rs485, channel=0, readInterval=5 | yes
d64 |  |  | aircon-teling | teling |  | channel=1, gateway=1, address=1, readInterval=5 | yes
d65 |  |  | humidity-gnr | gnr |  | channel=1,address=1,id=2,readInterval=5 | yes
d66 |  |  | projector-benq | benq |  | channel=0,readInterval=5 | yes
d67 |  |  | player-lexicon | lexicon |  | channel=0,address=0,readInterval=5 | yes
d68 |  |  | freshair-bllc | bllc |  | channel=1,readInterval=5 | yes
d69 |  |  | tv-hisense | hisense |  | channel=0 | yes
d70 |  |  | player-mymov | mymov |  | channel=0 | yes
d71 |  |  | freshair-qingci | qingci |  | channel=1, address=1,readInterval=5 | yes
d72 |  |  | aircon-abb | abb |  | channel=1,id=1,readInterval=5 | yes
d73 |  |  | floor-heat-abb | abb |  | channel=1,id=1,readInterval=5 | yes
d74 |  |  | freshair-venus | venus |  | channel=1, address=1,readInterval=5 | yes
d75 |  |  | aircon-this | this |  | channel=1,gateway=1,address=1,groupid=1,readInterval=5 | yes
d76 |  |  | aircon-mcquay | mcquay |  | channel=1,address=1,id=0,model=MC120,readInterval=5 | yes
d77 |  |  | freshair-mcquay | mcquay_freshair |  | channel=1,address=1,id=0,readInterval=5 | yes
d78 |  |  | trion | trion |  | channel=1,readInterval=5 | yes
d79 |  |  | freshair-trion | trion |  | channel=1, id=1,readInterval=5 | yes
d80 |  |  | freshair-noah | noah |  | channel=1, id=1,readInterval=5 | yes
d81 |  |  | window-windowspushergp70 | windowspushergp70 |  | channel=1, id=1,readInterval=5 | yes
d82 |  |  | aircon-orlgo | orlgo |  | channel=0,id0=0,id1=0,readInterval=5 | yes
d83 |  |  | dcprojector | dcprojector |  | channel=1,subtype=3M,model=7750 | yes
d84 |  |  | sensor-hailin | hailin |  | channel=1,id=1,readInterval=5 | yes
d85 |  |  | aircon-carrier | carrier |  | channel=0,gateway=1,address=1,readInterval=5 | yes
d86 |  |  | sensor-lttoilet | lttoilet |  | channel=1,address=1,readInterval=5，threshold=20 | yes
d87 |  |  | sensor-klkl | klkl |  | channel=1,address=1,readInterval=5 | yes
d88 |  |  | sensor-ltwy | ltwy |  | channel=1,readInterval=5,address=1 | yes
d89 |  |  | aircon-okonoff | okonoff |  | channel=0,address=0,readInterval=5 | yes
d90 |  |  | curtain-raex | raex |  | channel=0,address=0 | yes
d91 |  |  | freshair-feeling | feeling |  | channel=0,address=0,readInterval=5 | yes
d92 |  |  | freshair-bluewind | bluewind |  | channel=0,address=1,co2_threshold=500,readInterval=5 | yes
d93 |  |  | aircon-york2 | york2 |  | channel=0,address=1,readInterval=5 | yes
d94 |  |  | dihaosipanel_button | dihaosipanel_button |  | channel=1, address=1, readInterval=1, mode=0, buttonlist=0 | yes
d95 |  |  | dihaosipanel_fan | dihaosipanel_fan |  | channel=1, address=1, readInterval=1, mode=0, maxfan=2 | yes
d96 |  |  | dihaosipanel_numberfan | dihaosipanel_numberfan |  | channel=1, address=1, readInterval=1, mode=0, button1=low,button2=high | yes
d97 |  |  | floor-heat-nader | nader |  | channel=0,address=1,readInterval=5 | yes
d98 |  |  | serial_sequencer | serial_sequencer |  | channel=1,on=0a 0b 0c 0d 0e 0f,off=a0 b0 c0 d0 e0 f0 | yes
d99 |  |  | serial_sequencer | serial_sequencer |  | channel=1,baudrate=9600,model=crotc,index=0 | yes
d100 |  |  | crotc_aircon | crotc_aircon |  | channel=1,address=1,readInterval=5 | yes
d101 |  |  | crotc_floorheating | crotc_floorheating |  | channel=1,address=1,readInterval=5 | yes
d102 |  |  | crotc_freshair | crotc_freshair |  | channel=1,address=1,readInterval=5 | yes
d103 |  |  | crotc_pir | crotc_pir |  | channel=1,address=1,readInterval=5 | yes
d104 |  |  | crotc_button | crotc_button |  | channel=1,address=1,readInterval=5,index=0 | yes
d105 |  |  | crotc_buttonswitch | crotc_buttonswitch |  | channel=1,address=1,readInterval=5,index=0 | yes
d106 |  |  | crotc_curtain | crotc |  | channel=1, address=1 | yes
d107 |  |  | dehumidify-st | st |  | channel=1, address=1, readInterval=5 | yes
d108 |  |  | holtop | holtop |  | channel=0,address=1,readInterval=5 | yes
d109 |  |  | 门锁 | door |  | switch=0/0/0 | yes
d110 |  |  | 窗 | window |  | switch=0/0/0 | yes
d111 |  |  | 开关 | switch |  | switch=0/0/0 | yes
d112 |  |  | 插座 | outlet |  | switch=0/0/0 | yes
d113 |  |  | 窗帘 | curtain_blinds |  | open¦close=0/0/0, stop=0/0/0, up¦down=0/0/0, position=0/0/0, angle=0/0/0 | yes
d114 |  |  | 空调 | aircon |  | switch=0/0/0, mode=0/0/0::0/low+1/mid+2/high+3/auto, fan=0/0/0, direction=0/0/0, settemp=0/0/0, temperature=0/0/0 | yes
d115 |  |  | 地暖 | floor_heat |  | switch=0/0/0, settemp=0/0/0, temperature=0/0/0 | yes
d116 |  |  | 新风 | freshair |  | switch=0/0/0, mode=0/0/0, fan=0/0/0, temperature=0/0/0 | yes
d117 |  |  | 风扇 | fan |  | switch=0/0/0, mode=0/0/0, fan=0/0/0, swing=0/0/0, mute=0/0/0 | yes
d118 |  |  | 排风扇 | exhauster |  | switch=0/0/0, mode=0/0/0, fan=0/0/0 | yes
d119 |  |  | 除湿器 | dehumidifier |  | switch=0/0/0, mode=0/0/0, fan=0/0/0, sethumidity=0/0/0, humidity=0/0/0 | yes
d120 |  |  | 加湿器 | humidifier |  | switch=0/0/0, mode=0/0/0, fan=0/0/0, sethumidity=0/0/0, humidity=0/0/0 | yes
d121 |  |  | 晾衣架 | laundary_rack |  | up¦down=0/0/0, stop=0/0/0 | yes
d122 | 客厅 |  | 电视 | tv |  | knxconfig=tv | yes
d123 | 客厅 |  | 音箱 | music |  | knxconfig=music | yes
yes
yes
yes
d128 | [6 empty] | yes
d129 |  |  | 分区1 | musiczone |  | switch=0/0/0, volume=0/0/0, mute=0/0/0 | yes
d130 |  |  | 分区2 | musiczone |  | switch=0/0/0, volume=0/0/0, mute=0/0/0 | yes
d131 |  |  | tv-mute&&switch | tv |  | switch=0/0/0,mute=0/0/0 | yes
d139 | sensor |  | 传感器Enum | sensor |  | valueenum=0/1/5+0/1/5:5.005:Rainy/0+Cloudy/1+Sunny/2 | yes
d140 | sensor |  | 传感器Value | sensor |  | value=0/1/1+0/1/1:9.001:0.1:ppm:100:-5 | yes
d141 | sensor |  | temperature | sensor |  | temperature=15/4/1+15/4/1:9.001:0.1:℃ | yes
d142 | sensor |  | humidity | sensor |  | humidity=15/4/2+15/4/2:9.007:1:%RH | yes
d143 | sensor |  | pm1 | sensor |  | pm1=15/4/3+15/4/3:9.001:1:μg/m³ | yes
d144 | sensor |  | pm25 | sensor |  | pm25=15/4/3+15/4/3:9.001:1:μg/m³ | yes
d145 | sensor |  | pm10 | sensor |  | pm10=15/4/3+15/4/3:9.001:1:μg/m³ | yes
d146 | sensor |  | co2 | sensor |  | co2=15/4/4+15/4/4:9.008:1:ppm | yes
d147 | sensor |  | co | sensor |  | co=15/4/4+15/4/4:9.008:1:ppm | yes
d148 | sensor |  | voc | sensor |  | voc=15/4/5+15/4/5:9.008:0.01:ppm | yes
d149 | sensor |  | hcho | sensor |  | hcho=15/4/5+15/4/5:9.008:0.01:ppm | yes
d150 | sensor |  | h2s | sensor |  | h2s=15/4/5+15/4/5:9.008:0.01:ppm | yes
d151 | sensor |  | nh3 | sensor |  | nh3=15/4/5+15/4/5:9.008:0.01:ppm | yes
d152 | sensor |  | all with value | sensor |  | temperature=15/4/1+15/4/1:9.001:0.1:℃ humidity=15/4/2+15/4/2:9.007:1:%RH pm1=15/4/3+15/4/3:9.001:1:μg/m³ pm25=15/4/3+15/4/3:9.001:1:μg/m³ pm10=15/4/3+15/4/3:9.001:1:μg/m³ co2=15/4/4+15/4/4:9.008:1:ppm co=15/4/4+15/4/4:9.008:1:ppm voc=15/4/5+15/4/5:9.008:0.01:ppm hcho=15/4/5+15/4/5:9.008:0.01:ppm h2s=15/4/5+15/4/5:9.008:0.01:ppm nh3=15/4/5+15/4/5:9.008:0.01:ppm value=0/1/1+0/1/1:9.001:0.1:ppm:100:-5 | yes
d153 | sensor |  | all with valueenum | sensor |  | temperature=15/4/1+15/4/1:9.001:0.1:℃ humidity=15/4/2+15/4/2:9.007:1:%RH pm1=15/4/3+15/4/3:9.001:1:μg/m³ pm25=15/4/3+15/4/3:9.001:1:μg/m³ pm10=15/4/3+15/4/3:9.001:1:μg/m³ co2=15/4/4+15/4/4:9.008:1:ppm co=15/4/4+15/4/4:9.008:1:ppm voc=15/4/5+15/4/5:9.008:0.01:ppm hcho=15/4/5+15/4/5:9.008:0.01:ppm h2s=15/4/5+15/4/5:9.008:0.01:ppm nh3=15/4/5+15/4/5:9.008:0.01:ppm valueenum=0/1/5+0/1/5:5.005:Rainy/0+Cloudy/1+Sunny/2 | yes
d154 | music |  | music_knx | music |  | switch=1/1/1+1/2/1 mute=1/1/1+1/2/1 volume=1/1/3+1/2/3 volumeadd=1/1/1 volumesub=1/1/1 prev=1/1/1 next=1/1/1 playstatus=1/1/2+1/2/2:5.005:play/0+pause/1+stop/2 playmode=1/1/2+1/2/2:5.005:order/0+cycle/1+single/2+shuffle/3 scene=1/1/2+1/2/2:5.005:light/0+pop/1+classic/2+rock/3+dinner/4+entmt/5+relax/6+meeting/7 soundeffect=1/1/2+1/2/2:5.005:normal/0+rock/1+pop/2+dance/3+hiphop/4+classic/5+bass/6+human/7+jazz/8 | yes
d155 | music |  | music_huaersi | huaersi |  | channel=1, address=0 | yes
d156 | music |  | music_shengbike | shengbike |  | method=rs485,channel=1, id=0, groupid=0 | yes
d157 | music |  | music_auxdio | auxdio |  | channel=6, model=dm858, address=1,id=0 | yes
d158 | music |  | music_hopemusic | hopemusic |  | channel=1, readInterval=5, address=1 | yes
d159 | music |  | music_hopezone | hopezone |  | channel=1, readInterval=5, address=1, zone=2 | yes